Testbed Application .NET DLL Interface Documentation

# Background
The testbed application presented on the Not a Tame Lion website is intended to demonstrate a number of basic LabVIEW programming concepts. This DLL is intended to give applications not written in LabVIEW access to some of the testbed features.
## DLL Description
The DLL (testbedIntf.dll) is installed in the testbedIntf subdirectory to the Program Files (x86) directory. The DLL contains three classes implementing a total of seven methods. Two method provide the ability to read data from the testbed, three provide control access for setting testbed operating parameters, while the remaining two provide the ability to read and write the testbed connection parameters.
## Interface Targets
All methods interact with specific targets in the testbed application. There are currently 5 valid targets:
- Sine Source
- Ramp Source
- Hen House TC
- Dog House TC
- Out House TC
Although these string values can be used anywhere a “Target” value is required, all targets are not valid for all methods.
# The readData Class
This class implements the two methods for retrieving data from the testbed application.
## ReadGraphData
Prototype:	I32 ReadGraphData(String Target, out String jsonReturnData)
Valid Targets: All
Description: This method expects an input string (Target) that is the name of the testbed application screen for which you desire to fetch data. The method responds with the graph data in the form of a JSON encoded string (jsonReturnData). The data is an array of floating point values. The method's returnvalue is an integer where 0 = no error and 2 = a failed request.
JSON Response Format:	{“graphData”:[1.2000,2.3000,3.4000, … ]}
Note that floating point values have a fixed 4 decimal places of precision.
## ReadGraphImage
Prototype:	I32 ReadGraphImage(String Target, out String jsonReturnData)
Valid Targets: All
Description: This method expects an input (Target) that is the name of the testbed application screen for which you desire to fetch graph image. The method responds with the image in the form of a JSON encoded string (jsonReturnData). The data is an array of U8 values representing the image as a PNG file. The method's returnvalue is an integer where 0 = no error and 2 = a failed request.
JSON Response Format:	{“imageData”:[1,2,3, … ]}
# The setValue Class
This class implements three methods that provide limited control access to the testbed application.
## SetAcquisitionRate
Prototype:	I32 SetAcquisitionRate(String Target, String jsonData)
Valid Targets: Sine Source and Ramp Source
Description: This method expects an input (Target) that is the name of the testbed application screen for which you desire to set the acquisition rate, and a JSON encoded integer (jsonData) that is the sample interval in seconds. The method's returnvalue is an integer where 0 = no error and 2 = a failed update.
JSON Input Format: {"acqRate":1500}
This value is the integer number of milliseconds between consecutive data samples. Valid range is from 500 to 2500 msec.
## SetDataBufferSize
Prototype:	I32 SetDataBufferSize(String Target, String jsonData)
Valid Targets: All
Description: This method expects an input (Target) that is the name of the testbed application screen for which you desire to set the data buffer depth, and a JSON encoded integer (jsonData) that is the buffer depth in samples. The method's returnvalue is an integer where 0 = no error and 2 = a failed update.
JSON Input Format: {"bufSize":100}
This value is the integer number of samples that should be maintained in the data buffer. Valid range is from 50 to 2000 samples.
## SetTCParmaeters
Prototype:	I32 SetTCParameters(String Target, String jsonData)
Valid Targets: Hen House TC, Dog House TC and Out House TC
Description: This method expects an input (Target) that is the name of the testbed application screen for which you desire to set the temperature control parameters, and a JSON object (jsonData) that contains five values: The high-high limit, the high limit, the low limit, the low-low limit, and the sample interval. The method's returnvalue is an integer where 0 = no error and 2 = a failed update.
JSON Input Format: {"Error High Level":90,"Warning High Level":80,"Warning Low Level":70,"Error Low Level":60,"Sample Interval":1000}
These value define the operation of the named temperature controller. Valid values are as follows:
- The Error High Level value must be less than 100
- The Warning High Level must be less than the Error High Level
- The Warning Low Level must be less than the Warning High Level
- The Error Low Level must be less than the Warning Low Level, and greater than 30.
- The Sample Interval is the floating point number of seconds between controller sample. Valid values are between 1 and 10 seconds.
# The _testbedIntf Class
This class implements two methods that allow interaction with the testbed application connection parameters.
## configConn
Prototype:	I32 configConn(String Address, U16 PortNumber)
Description: This method allows you to define the parameters for connecting to the testbed application. It has to be called any time the connection parameters change, or the DLL is updated. Note that the Address string can be either an IP address, or a DNS-recognized host name.
## readConfigConn
Prototype:	I32 readConfigConn(out String Address, out U16 PortNumber)
Description: This method reads the current testbed connection parameters. If they come back empty, it means that the parameters have not yet been set.